## Introduction (hidden)
Service Line Inventory Template
Date last updated: September 20, 2023
What is the purpose of this template? The purpose of this template is to provide fillable forms and tables that water systems should use to document their methods, organize their inventory, submit the initial inventory and inventory updates to the state, and document how they are making the inventory publicly available to comply with the service line inventory requirements of the January 15, 2021 Lead and Copper Rule Revisions (LCRR). This template was designed based off the draft EPA document, Guidance for Developing and Maintaining a Service Line Inventory (2022) by providing fillable forms and tables that water systems can use to document their methods, organize their inventory, submit the initial inventory and inventory updates to the state, and document how they are making the inventory publicly available.
How is the template organized?
The worksheets in this template are color coded: Yellow sheets are instructions and background. Dark blue sheets are templates for systems to complete and submit. See the table below for a description of each worksheet. |  | The cells in this template are also color coded: Gray cells are background or instructions. Light blue cells are fillable cells for systems. Aqua cells are the current required fields in the Detailed Inventory worksheet. Please fill out as many fields possible in the Detailed Inventory as EPA might require this information in the future.
Template Organization
Worksheet Type | Worksheet Name | Description
Background | Template Instructions_System | Contains detailed instructions for systems.
| Classifying SLs | Summarizes requirements for classifying the entire service line when ownership is split (i.e., when the system owns a portion and the customer owns a portion).
Templates for Water Systems | PWS Information | For systems to document basic system information.
| Inventory Methods | For systems to document the methods and resources they used to develop and update their inventory.
| Inventory Summary | For systems to provide a summary of their service line inventory, including information on ownership, inventory format, and the number of service lines for each of the four required materials classifications. Systems can enter the totals into this worksheet or automatically generate totals based on information in the Detailed Inventory worksheet.
| Detailed Inventory | Provides a customizable format water systems can use to track materials for each service line in their distribution system. Each row equals one service line connecting the water main to the customer's plumbing. Separate columns track location information, the system-owned portion, the customer-owned portion, other possible sources of lead, information for assigning a tap sample tiering classification, and information for lead service line replacement (LSLR). Systems can customize the worksheet by adding or deleting columns.
| Public Accessibility Doc. | For systems to provide documentation to states on how they met the public accessibility requirements of the LCRR.

## Classifying SLs (hidden)
Classifying the Entire Service Line When Ownership Is Split
Purpose of this worksheet: To summarize EPA's requirements for classifying the entire service line when ownership is split.
Introduction
In many cases, service line ownership is split meaning that the system owns a portion and the customer owns a portion of the service line. Exhibit 1 below is a diagram of a possible division in service line ownership between the water system and customer. While the LCRR requires the inventory to categorize each service line or portions of the service line where ownership is split, a single classification per service line is also needed to support various LCRR requirements, such as lead service line replacement (LSLR), tap sampling, and risk mitigation. Table 1 below indicates how to classify the material for the entire service line when ownership is split between the water system and customer. For more information, see EPA's, Guidance for Developing and Maintaining a Service Line Inventory (2022).
Exhibit 1. Example of Service Line Ownership Distinction between the Water System and Customer
Source: Exhibit 2-2 of Guidance for Developing and Maintaining a Lead Service Line Inventory (USEPA, 2022).
Table 1: Classification of Entire Service Line When Ownership is Split
System-Owned Portion | Customer-Owned Portion | Classification for Entire Service Line
Lead | Lead | Lead
Lead | Galvanized Requiring Replacement | Lead
Lead | Non-lead | Lead
Lead | Lead Status Unknown | Lead
Non-lead | Lead | Lead
Non-lead and never previously lead | Non-lead, specifically galvanized pipe material | Non-lead
Non-lead | Non-lead, material other than galvanized | Non-lead
Non-lead | Lead Status Unknown | Lead Status Unknown
Non-lead, but system is unable to demonstrate it was not previously Lead | Galvanized Requiring Replacement | Galvanized Requiring Replacement
Lead Status Unknown | Lead | Lead
Lead Status Unknown | Galvanized Requiring Replacement | Galvanized Requiring Replacement
Lead Status Unknown | Non-lead | Lead Status Unknown
Lead Status Unknown | Lead Status Unknown | Lead Status Unknown
Source: Exhibit 2-3 of Guidance for Developing and Maintaining a Service Line Inventory (USEPA, 2022).
Table 2: Lead Service Line Material Descriptions
Lead Service Line Material Classification | Description
Lead | A portion of the pipe that is made of lead, which connects the water main to the building inlet.
Galvanized Requiring Replacement (GRR) | A galvanized service line that has been downstream of a lead service line or is currently downstream of an unknown service line.
Non-Lead | The service line is determined not to be lead or GRR through an evidence-based record, method, or technique
Lead Status Unknown | The service line material is not known to be a lead, GRR, or non-lead, such as where there is no documented evidence supporting material classification.

## PWS Information
PWS Information
Purpose of this worksheet: For water systems to document basic system information.
*Required to Fill
Facility Information
Water System Name*:
Harmony Heights Water Co.
PWSID (ie. 00000)*: | Population Served (number of people)*: | Number of Service Connections*: | PWS Type*:
27082 | 200 | 75 | CWS | TRUE
If you are a CWS, do multi-family residences comprise at least 20% of the structures you serve? |  |  | No | FALSE
Mailing Address
Street or P.O. Box*:
PO Box 643
City or Town*: |  | State*: | Zip Code*:
New Harmony |  | UT | 84757
System Contact Person
Name*: |  | Title:
Daniel Powers |  | Harmony Heights Water Co.
Telephone*: |  | Email*:
(714) 299-3763 |  | danpowers@pobox.com
Person Who Prepared Inventory (if different from above)
Name: |  | Title/Affiliation:
Devin Shields |  | Project Engineer - Sunrise Engineering
Telephone: |  | Email:
435.743.1123 |  | dshields@sunrise-eng.com

## Inventory Summary
Inventory Summary
PWS Name: Harmony Heights Water Co.
PWSID: 27082
Enter Date Last Updated*: | 2024-06-24
Purpose of this worksheet: For water systems to provide a summary of their service line inventory, including information on ownership, inventory format, and the number of service lines for each of the four required materials classifications.
*Required to Fill
Part 1. General Information
1. Is this the Initial Inventory or an Inventory Update?* |  | Initial Inventory
Additonal Information:
2a. Who owns the service lines in your system?* If other, please explain below. |  | Ownership is split, meaning that the system owns and portion and the customer owns a portion
2b. Is there documentation that defines service line ownership in your system, such as a local ordinance? *If yes, please describe below and explain where ownership is split (e.g., property line, curb stop). |  | Yes
Ownership split at meter. Described in bylaws.
3a. Describe when lead service lines were generally installed in your system.*
NA
3b. When were lead service lines banned in your system? Reference the state or local ordinance that banned the use of lead in your system.*
1989-04-01
4. Do you have lead goosenecks, pigtails or connectors in your system?* |  | No
5. What is your overall level of confidence in the inventory (i.e., "Low", "Medium", or "High.") Please explain your rationale below.*
High. The system was installed after the lead ban.
Part 2. Inventory Summary Table 1
If you are using the Detailed Inventory worksheet, the classifications you select in the Column "Entire Service Line Material Classification" (Column Y) will be used to calculate the total number of service lines for each of the four material classifications below. Otherwise, enter the number of service lines in the aqua-colored cells. Remember this is the classification for the entire service line.
Service Line Material Classification | Definition |  | Total Number of Service Lines (REQUIRED to be reported under the LCRR)
Lead | Any portion of the service line is known to be made of lead.2 |  | 0
Galvanized Requiring Replacement (GRR) | The service line is not made of lead, but a portion is galvanized and the system is unable to demonstrate that the galvanized line was never downstream of a lead service line. |  | 0
Non-Lead | All portions of the service line are known NOT to be lead or GRR through an evidence-based record, method, or technique. |  | 75
Lead Status Unknown | The service line material is not known to be lead or GRR. For the entire service line or a portion of it (in cases of split ownership), there is not enough evidence to support material classification. |  | 0
TOTAL |  |  | 75
Notes
1 This summary table is for reporting material for the entire service line connecting the water main to the customer's plumbing. See the Classifying SLs worksheet for additional guidance on assigning a materials classification to the entire service line when ownership is split. Remember that systems must track the system-owned and customer-owned portions separately in their inventory.
2 A lead-lined galvanized service line is consistent with the definition of an LSL under the LCRR (“a portion of pipe that is made of lead, which connects the water main to the building inlet”) (40 CFR §141.2) and must therefore be classified in the inventory as an LSL. Do NOT, however, count non-lead service lines with a lead gooseneck or pigtail as lead service lines.

## Inventory Methods
Inventory Methodology
PWS Name: Harmony Heights Water Co.
PWSID: 27082
Enter Date Last Updated*: | 2024-06-24
Purpose of this worksheet: For water systems to document the methods and resources they used to develop and update their inventory.
*Required to Fill
Part 1: Historical Records Review
Type of Record | Describe the Records Reviewed for Your Inventory and Indicate Your Level of Confidence (e.g., Low, Medium, or High)
1. Previous Materials Evaluation Example: Locations of Tier 1 lead tap sampling locations that are served by a lead service line. (Add N/A if it does not apply)* | NA
2. Construction Records and Plumbing Codes Examples: Local ordinance adopting an international plumbing code. Permits for replacing lead service lines. (Add N/A if it does not apply)* | NA
3. Water System Records Examples: Capital improvement plans. Standard operating procedures. Engineering standards. (Add N/A if it does not apply)* | Water system as-built.
4. Distribution System Inspections and Records Examples: Distribution system maps. Tap cards. Service line repair/replacement records. Inspection records. Meter installation records. (Add N/A if it does not apply)* | NA
6. Other Records (Add N/A if it does not apply)* | Washington County assessor data.
Part 2: Identifying Service Line Material During Normal Operations
1. During which normal operating activities are you collecting information on service line material?* Check all that apply.
Water meter reading | Water main repair or replacement |  | FALSE | FALSE
Water meter repair or replacement | Backflow prevention device inspection |  | FALSE | FALSE
Service line repair or replacement | Other |  | FALSE | FALSE
If "Other", please explain:
2. Did you develop or revise standard operating procedures to collect service line material information during normal operation?* |  | No
If "Yes", please describe:
Part 3: Service Line Investigations
1. Identify the service line investigation methods your system used to prepare the inventory (check all that apply). If a water system chooses an investigation method not specified by the state under 40 CFR §141.84(a)(3)(iv), state approval is required. Note that investigations are not required by the LCRR but can be used by systems to assess accuracy of historical records and gather information when service line material is unknown. *
Visual Inspection at the Meter Pit | Water Quality Sampling - Other |  | FALSE | FALSE
Customer Self-Identification | Mechanical Excavation |  | FALSE | FALSE
CCTV Inspection at Curb Box - External | Vacuum Excavation |  | FALSE | FALSE
CCTV Inspection at Curb Box - Internal | Predictive Modeling |  | FALSE | FALSE
Water Quality Sampling - Targeted | Other |  | FALSE | FALSE
Water Quality Sampling - Flushed |  |  | FALSE
Water Quality sampling - Sequential |  |  | FALSE
If "Other", please explain:
2. If "Predictive Modeling", please briefly describe the model and inputs used:
3. How did you prioritize locations for service line materials investigations? For example, did you consider environmental justice and/or sensitive populations, did you use predictive modeling, and/or did you target areas with high number of unknowns?*

## Detailed Inventory
Detailed Inventory
PWS Name: Harmony Heights Water Co.
PWSID: 27082
Date Last Updated: | 2024-06-24
*Required to Fill | Please fill out as many fields possible in the Detailed Inventory as EPA might require this information in the future.
Location Information | [6 empty] | System-Owned Portion | [8 empty] | Customer-Owned Portion | [7 empty] | Material Classification for the Entire Service Line* | Other Potential Sources of Lead |  |  | Additional Information to Assign Tap Monitoring Tiering |  |  |  | Lead Service Line Replacement (LSLR) |  | Comments | Data Validation (DO NOT FILL)
Unique Service Line ID (Determined by the Water System) | Location Identifier (Street Address+Zip Code And/OR GPS Coordinates)* |  |  |  | Sensitive Population? | Disadvantaged Neighborhood? (Click Here)
| Street Address | Zip Code | Latitude | Longitude |  |  | System-Owned Service Line Material* | Was Material Ever Previously Lead | Service Line Installation Year | Service Line Diameter (inches) | Basis of Material Classification | Was the Service Line Material Field Verified? | If Field Verified: Describe the Field Verification Method | If Field Verified: Date of Field Verification | Notes | Customer-Owned Service Line Material* | Service Line Installation Year | Service Line Diameter (inches) | Basis of Material Classification | Was the Service Line Material Field Verified? | Describe the Field Verification Method | Enter the Date of Field Verification | Notes |  | Is there a Lead Connector? | Is there Lead Solder in the Service Line? | Describe Other Fittings and Equipment Connected to the Service Line that Contain Lead | Building Type Connected to Service Line | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Intstalled Before Utah's Lead Ban (April 1989)? | Current LCR Sampling Site | Date of System- owned LSLR | Date of Costumer- owned LSLR |  | Location Information Completed? | System Owned Service Line Material Completed? | Customer Owned Service Line Material Completed? | Material Classification for the entire Service Line- Completed? | Indicator
|  |  | 37.458288 | -113.297823 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.457719 | -113.296840 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.456573 | -113.297832 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.456184 | -113.297757 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.456383 | -113.296689 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.455914 | -113.296074 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.454787 | -113.296161 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.454807 | -113.297493 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead
|  |  | 37.454309 | -113.297506 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.454099 | -113.297066 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.454359 | -113.295709 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead
|  |  | 37.454578 | -113.295232 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead
|  |  | 37.454997 | -113.294692 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.454747 | -113.294139 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.454299 | -113.293724 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.454299 | -113.293121 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.454518 | -113.292204 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.454797 | -113.291890 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.455665 | -113.292430 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.455994 | -113.292443 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.455914 | -113.291501 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.456533 | -113.291450 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.457271 | -113.291764 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.457370 | -113.293322 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.457630 | -113.294277 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.458248 | -113.294867 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.457679 | -113.294968 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.458796 | -113.295898 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.459026 | -113.296940 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.459614 | -113.298222 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.460073 | -113.295646 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.460272 | -113.298536 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.460980 | -113.297619 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463287 | -113.295921 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.467267 | -113.292101 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.466485 | -113.291875 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.465930 | -113.291816 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.465488 | -113.291638 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.467417 | -113.290678 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.466946 | -113.290618 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.466457 | -113.290725 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.466005 | -113.290666 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.465506 | -113.290678 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.464970 | -113.291259 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.464857 | -113.290583 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.464443 | -113.290583 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.465271 | -113.292729 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.464791 | -113.292077 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.464255 | -113.291472 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463727 | -113.290796 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463257 | -113.290618 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.467389 | -113.289765 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.466834 | -113.289705 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.466382 | -113.289776 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.465892 | -113.289741 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.465384 | -113.289765 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.464904 | -113.289800 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.464405 | -113.289812 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463887 | -113.289812 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463247 | -113.289931 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463219 | -113.289361 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463200 | -113.288792 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463210 | -113.288342 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463200 | -113.287725 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.462400 | -113.287761 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.462353 | -113.288330 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.462466 | -113.289077 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.462494 | -113.289812 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.462071 | -113.289112 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.461723 | -113.288010 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
| Well and Pumphouse |  | 37.464468 | -113.294147 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463058 | -113.294953 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.465142 | -113.294382 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.465100 | -113.294769 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
|  |  | 37.463166 | -113.297357 | No | No | Non-Lead | No |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead |  |  | Installation date is after the lead ban | No |  |  |  | Non-Lead | [10 empty] | COMPLETE | COMPLETE | COMPLETE | COMPLETE | 1
Note on AC6: This information may be helpful for identifying lead tap monitoring locations.
Note on B7: DDW: If Several Service Lines have the same address/location coordinates please give more details in 'Comments'
Note on F7: Select 'Yes' if sensitive subpopulation, e.g., day care, school, multifamily home. If Yes-Other, describe in the Notes field.
Note on G7: Does location meet state affordability guidelines or other measures?
Note on B8: Water systems must track addresses and/or gps coordinates of all service lines in their inventory. For the publicly accessible version, location identifiers are required for lead or galvanized requiring replacement.
Note on H8: Dropdown list includes recommended subclassifications. If "Non-Lead Other" or "Not Applicable" describe in 'Notes' field
Note on I8: If Non-Lead in Column "G"- Important for determining if downstream/ costumer-owned galvanized service line requires replacement
Note on J8: Year of service installation. This may be an estimate.
Note on L8: Select option from drop down list. If "Other", describe in the Notes field.
Note on N8: If service line was field verified select options from drop down list. If"Other", describe in the 'Notes' field.
Note on Q8: Dropdown list includes recommended subclassifications. If "Non-Lead Other" or "Not Applicable" describe in 'Notes' field
Note on R8: Year of service installation. This may be an estimate.
Note on T8: Select option from drop down list. If "Other", describe in the Notes field.
Note on V8: If service line was field verified select options from drop down list. If"Other", describe in the 'Notes' field.
Note on Z8: For example, lead gooseneck or pigtail where the water main is connected to the service line.
Note on AB8: For example, backflow preventer or meter containing lead.

## Public Accessibility Doc.
Public Accessibility Documentation
PWS Name: Harmony Heights Water Co.
PWSID: 27082
Enter Date Last Updated*: | 2024-06-24
Purpose of this worksheet: For systems to provide documentation to states on how they met the public accessibility requirements of the LCRR.
1. Select the location identifiers that you use for your service line inventory. Check all that apply*.
Address |  |  | FALSE
GPS Coordinates |  |  | TRUE
If using GPS Coordinates please fill out the following:
Collection Method: | GIS Documentation OR Geocoded Addresses OR Digitized map documents OR GPS Trimble
Reference Datum (If known) | WGS 84
Type of Coordinate System (If Known) | Decimal Degrees
2. Does every service line have a location identifier? * |  | Yes
If "No", explain. Remember that location identifiers are required for service lines that are lead or galvanized requiring replacement.
3. How are you making your inventory publicly accessible? Check all that apply. Remember that if your system serves > 50,000 people, you must provide the inventory online.*
Interactive online map |  |  | FALSE
Utah DDW LCRR GIS Online Map -Only available for water systems population 50,000 or less (Map will be available by summer 2024) |  |  | TRUE
Static online map |  |  | FALSE
Online spreadsheet |  |  | FALSE
Printed service line map |  |  | FALSE
Printed tabular data |  |  | FALSE
Information on water utility mailings or newsletter |  |  | FALSE
Hard copy information available in water system office |  |  | FALSE
Other |  |  | FALSE
If "Other", please describe:

## Permitted Values (hidden)
| Type of Pipe Material |  |  |  | Building Type | Basis of Materials Classification | Type of Pipe Material Both Costumer and System Owned |  | Sensitive Population
| Lead |  |  |  | Single Family Residence | Previous Materials Evaluation | Lead |  | No
| Galvanized |  |  |  | Multi Family Residence | Installation record (e.g., tap card) | Galvanized Requiring Replacement |  | Yes-School
Yes | Non-Lead - Copper |  | 1 | Initial Inventory | School | Installation date after lead ban | Non-Lead | Customer Self-Identification | Yes- Childcare Facility
No | Non-Lead - Plastic |  | 2 | Inventory Update - Correction due to Previous Submission Data Error(s) - Add below description of errors and previous submission date | Childcare Facility | Service line diameter is > 2 inches | Unknown | CCTV Investigation at the curb stop-internal | Yes-Other - Please Describe in 'Comment' Field
Don't Know | Non-Lead - HDPE/Poly |  | 3 | Inventory Update- Required Periodic Update | Building | Service line repair or replacement record |  | CCTV Investigation at the curb stop-external
| Non-Lead - Other |  | 4 | Inventory Update- Other - Please describe below why inventory is being updated. | Other-Please Describe in 'Comment' Field | Predictive model |  | Water quality sampling
| Unknown-Material Unknown |  | 5 |  |  | Water sampling only with no records |  | Mechanical Excavation at one location
| Unknown-Likely Lead |  | Does not meet tiering criteria |  |  | Field inspection only with no records |  | Mechanical Excavation at multiple locations
| Unknown-Unlikely Lead |  |  |  |  | Other-Please Describe in 'Notes' Field |  | Visual Inspection at the Meter Pit
| Galvanized Requiring Replacement | [6 empty] | Other- Please Describe in 'Notes' Field
Not Applicable
Select One |  | Yes |  |  | Ownership Type
Community |  | No |  |  | The entire service lines are owned by the water system
Non-Transient Non-Community |  | Unknown |  |  | The entire service lines are owned by the costumer
Ownership is split, meaning that the system owns and portion and the customer owns a portion
Other